Reviewer	     	                                                                      Submission ID

Principal Investigator	     			Protocol #

| Device Checklist | Yes | No | N/A or Comments |
| --- | --- | --- | --- |
| Does the research involve an investigational medical device, or specifically investigate the interventional or diagnostic use of any medical device? (Medical devices include assays.) If unclear, consult COMIRB’s IDE Decision Tool. (if no, skip to section II below) |  |  |  |
| Does the study have an IDE? |  |  |  |
| If yes, indicate how the IDE # is documented: Sponsor protocol imprinted with IDE # (Investigator Brochure may not be used for this purpose) Written communication from the Sponsor documenting IDE # Written communication from the FDA documenting IDE # (If there is an IDE, skip to section II below. If there is no IDE, continue to B) |  |  |  |
| IDE Exemption |  |  |  |
| Is the project exempt from IDE regulations by one of the following? All device(s) studied are FDA approved and used strictly according to FDA labeling. Only in vitro diagnostic device(s) (i.e., assays) are being studied, and testing is non-invasive and does not require an invasive sampling procedure (venipuncture or leftover clinical samples are OK), and testing does not introduce energy into subject, and results are not used for diagnosis without confirmation by an established test Device consumer preference testing, testing of a modified FDA-approved device, or testing of a combination of two or more FDA-approved devices (i.e., used in combination), as long as the testing is not for the purpose of determining safety or effectiveness and does not put subjects at risk. Custom device testing, as long as no safety/effectiveness data are being collected. Modifying an existing FDA-approved device, provided the following criteria are met: 1) the device is not being introduced into commercial distribution for the first time; 2) the change or modification does not significantly affect the safety or effectiveness of the device; and 3) the modification doesn’t represent a major change in the intended use of the device. Device is exempt from FDA 510(k) requirements per 21 CFR 807.81. (If unsure, please consult with IRB manager.) (if study is exempt from IDE regulations, skip to D. If the study is not exempt, continue to C) |  |  |  |
| IDE Regulations apply. Determine Device(s) Risk Level: Full Board review required for device risk determination |  |  |  |
| At least one device in the study meets the definition of Significant Risk Device: Device intended as an implant (30 days or more) OR used to support or sustain human life OR is of substantial importance in diagnosing, curing, mitigating, or treating disease or preventing impairment of human health AND device presents a potential for serious risk to subject’s health, safety, or welfare OR Device otherwise presents a potential for serious risk to subject’s health, safety, or welfare (If yes, IDE is required; discuss at meeting and skip to C3. If no, continue toC2) |  |  |  |
| All devices in the study are Non-Significant Risk devices because none meet the above definition of Significant Risk Devices. If all devices are Non-Significant Risk, the answers to a & b must both be yes: |  |  |  |
| Device(s) are not banned by the FDA |  |  |  |
| The Sponsor (or Sponsor-Investigator) will follow the abbreviated IDE requirements in 21 CFR 812.2 (b). Has the investigator indicated these will be followed [see Attch D, section 2, #B2(c)] |  |  |  |

ADDITIONAL NOTES:

Reviewer Signature					Date

Signature above verifies this checklist was used in the review of this protocol.

# Text boxes

Sign Here